## Sheet1
CHECKLIST OF CONSIDERATIONS BEFORE SPECIFYING EQUIPMENT FOR PURCHASE
If any of the following items are of concern, you should submit this form to your Department Head/Dean to determine whether you should proceed with this request and to verify that there are funds available to pay for a quote from the Facilities Management Engineering Department (through the Work Order System) to make the necessary modifications to the space.
Proposed Equipment to be Purchased: (Attach Complete Specifications and Material Safety Data Sheet(s)
Requesting Department:
Form Completed by: Date:
QUESTIONS | YES | NO | COMMENTS / SPACE REQUIREMENTS NEEDED
LOCATION & INFRASTRUCTURE
Is a suitable location available for this equipment?
Will this equipment replace existing equipment?
Is this equipment an additional component of existing equipment, therefore it must be from the same manufacturer in order to work properly?
Will the space need any modifications in order for the equipment to operate safely such as local exhaust ventilation, suitable base to minimize vibration, emergency stop controls, special wiring (>20 AMP/120V), plumbing, HEAT/HUMIDITY CONTROLS, etc.?
Does the equipment require a water supply, discharge piping, exhaust, compressed air, compressed gas or other special requirements?
Does the equipment (and electrical components) have a Nationally Recognized Safety Rating: If so, please state the rating. (Please refer to the following) ELECTRICAL EQUIPMENT STANDARDS: All equipment/material shall conform to the latest issue of all applicable standards as established by National Electrical Manufacturer's Association (NEMA), American National Standards Institute (ANSI), and Occupational Safety & Health Administration (OSHA). All equipment and material, for which there are OSHA standards, shall bear an appropriate label of approval for use intended from a Nationally Recognized Testing Laboratory (NRTL). A current list of Nationally Recognized Testing Laboratories can be found at: https://www.osha.gov/dts/otpca/nrtl/nrtllist.html
Does the equipment require standby power in the event of an outage?
When installed, will the equipment obstruct sprinkler coverage?
Will the floor sustain the weight of the equipment? (Includes existing equipment in same space for total weight load).
Does the equipment have moving parts or create reactions which might require safeguards?
Does the equipment generate excessive noise? Has the manufacturer been asked to supply evidence that noise control has been incorporated into the design - (provide noise test report if applicable)?
Does the equipment need to be anchored to the floor or fastened/supported by the walls or ceiling?
DELIVERY & INSTALLATION
Who will receive the equipment and if necessary, provide temporary storage?
Building Accessibility: Will the equipment fit through existing doors and elevators? Will the elevator sustain the weight of the equipment?
Will special equipment (i.e. forklift, pallet-Jack) be required at the dock to move the equipment to it's location?
Is there a clear path through the facility to move the equipment?
Who will install/set-up the equipment?
Will building finishes (i.e. wood floors, carpet, walls, doors, frames, elevator cabs) need temporary protection?
Who will remove the equipment if it is no longer needed or there is a department move?
SAFETY & TRAINING
Is training required to ensure safe use?
Who will provide the training and when (at the time of delivery/installation or at a later date)
Will the equipment be exposed to tampering?
Will installing the equipment require emergency showers and/or eye wash stations
Does the equipment contain a radioactive source or generate primary or secondary X-Rays?
Is it necessary to enter or occupy the equipment, e.g. sound booth or shield room.
Does the equipment contain flammable refrigerants which include, but are not limited to R-290 & R600A which have been banned by the University (Effective April, 2018)
ONGOING MAINTENANCE & SUPPLIES
What maintenance is required after installation and who is responsible? Who manages special insurance and warranty claims?
Will the vendor/manufacturer provide a Maintenance Agreement? If so, find out how often they will inspect the equipment, what is included in the agreement (travel, parts, etc) and determine if your department can support the cost.
Will the equipment have suitable floor and ceiling space for operators and maintenance personnel to perform their tasks?
Will the equipment require calibration? If so, how often and can your department support the continued cost.
Does the equipment require specific supplies only available from the Manufacturer?
Is technical service available by phone? If so, for how long and what is the cost?
What is the life-cycle cost of the equipment?
Does the equipment operate with software?
How often is there an upgrade of instrumentation software?
Are upgrades automatically available and free of charge?